HOME SAFETY: SMOKE DETECTORS

Smoke detectors are one of the simplest and most efficient ways of protecting a home and household members from severe injury or death caused by a home fire. The U.S. Department of Housing and Urban Development (HUD) estimates that a home fire occurs every 66 seconds in the United States. The National Fire Protection Association (NFPA) estimates that having a functioning home smoke detector in the home reduces by 50 percent the chances of dying from a fire. Unfortunately, approximately one-third of all smoke detectors placed in homes do not function properly.

Types of Smoke Detectors

The two common types of smoke detectors are ionization and photoelectric. An ionization detector is the most common and uses ionization sensors to detect smoke. Ionization detectors are very sensitive and are designed to detect hot and fast-moving fires that produce minimal smoke. Photoelectric detectors detect the presence of visible particulates in the air. Inside the detector, a light-emitting diode (LED) directs a narrow beam of infrared light across the detection chamber. When smoke or particles enter the chamber, the infrared light beam is scattered.  When a preset amount of light is detected, the detector alarm sounds. Photoelectric detectors are not as sensitive as ionization detectors and are designed to detect cool or slow-moving fires that produce a lot of smoke.

Developing an Escape Plan

Someone in every household should develop an escape plan in case of fire and practice the plan with all members of the home. When developing an escape plan, consider the following:

- Draw a floor plan of the home that identifies at least two methods of escape from every room.

- Practice evacuating the home while blindfolded.

- Practice staying low to the ground while escaping.

- Practice stopping, dropping to the ground, and rolling.

- Identify a safe meeting place outside the home.

- Practice alerting other members of the household.

Safety Tips

Along with the development of an escape plan, a member of the household should post emergency telephone numbers near the telephone. However, in the case of a home fire, household members should leave the house first and then place the emergency call from a safe location. A person in a multiple-level home should purchase collapsible ladders and have each household member practice using them. A-B-C type fire extinguishers should be available in the home and each household member should know how to use them. Combustible materials should not be stored in closed areas or near a heat source.

When cooking in the home, keep the stove area clean and clear of combustibles such as bags and boxes and other appliances. If a fire does occur in the kitchen, put a lid over the burning pan or use a fire extinguisher. Never pour water on grease fires.

Have a certified electrician check all electrical wiring in the house and replace any frayed or cracked wiring. Make sure no wiring is located under rugs, over nails, or in high traffic areas and do not overload outlets or extension cords. All outlets should have cover plates and no wiring should be exposed. A homeowner should only purchase appliances and electrical devices that have a label indicating that they have been inspected by a testing laboratory such as Underwriter’s Laboratories (UL) or Factory Mutual (FM).

For additional safety tips, contact the local fire department, the Office of the State Fire Commissioner, or a chapter of the American Red Cross.

Taking Care of Smoke Detectors

A member of the household should establish a system for monitoring and taking care of all smoke detectors in the home. Consider these safety tips:

- Test smoke detectors monthly.

- Clean smoke detectors on a regular basis.

- When smoke detector emits a low-power warning sound, replace batteries and lamps.